## Sheet1
Manuscript | JW Variables | V500 | Suggestions
Airway Assessment | Airway Assessment | Airway Assessment
Oxygen Delivery Device: FiO2 | Oxygen (FiO2) Delivery Device | Oxygen (FiO2) Delivery Device
Oxygen Delivery Device: Liters per minute | Oxygen (L/min) Delivery Device | Oxygen (L/min) Delivery Device
Oxygen Source | Oxygen Source | Oxygen Source
Ventilator Mode | Ventilator Mode | Ventilator Mode
EtCO2 | End Tidal CO2 | End Tidal CO2
FiO2 | Percent FiO2 | Percent FiO2
Nasal cannula flow |  |  | No mapping found
High Flow nasal cannula flow | HFNC Flow | HFNC Flow
CPAP PEEP |  | “Airlife Actual CPAP” OR “Bubble Set CPAP” | Dubious mapping
BiPAP EPAP | BiPAP EPAP Setting | BiPAP EPAP Setting
BiPAP IPAP |  | BiPAP IPAP Setting
BiPAP Rate | BiPAP Rate | BiPAP Rate
PEEP |  | Apollo PEEP | Please verify
PIP | PIP Calculation | PIP Calculation | Please verify
PS | Pressure Support | Pressure Support
Ventilator Rate | Ventilator Rate | Ventilator Rate
Tidal volume set | Tidal Volume | Tidal Volume
Tidal volume spontaneous | VT-Spontaneous (mL) | VT-Spontaneous (mL)
Tidal volume mandatory | VT-Mandatory (mL) | VT-Mandatory (mL)
HFJV PEEP | HFJV Monitored PEEP | HFJV Monitored PEEP
HFJV PIP | HFJV PIP | HFJV PIP
HFJV Rate | HFJV Rate | HFJV Rate
HFOV amplitude |  | HFOV Amplitude
HFOV Frequency |  | HFOV Frequency